## Slide 1
Seeing-Eye Hat
Electrical & Computer Engineering
Mitchell Gilmer, Matthew Esses, Shreya Venkat
4/29/2023

## Slide 2
Visual impairments make independent navigation of surroundings difficult
  Raises concerns for individual’s personal safety
Issues with other solutions:
  Canes cannot detect objects further than a meter out
  Dogs can get easily distracted by surroundings, even with training.
GRAINGER ENGINEERING
Problem
ELECTRICAL & COMPUTER ENGINEERING

## Slide 3
Hat with 360-degree view
LiDAR sensors for wayfinding and dead reckoning
Doppler radars for collision detection
Can translate environment into spatial data
Vibration motors around the hat will indicate direction of nearest object to user
GRAINGER ENGINEERING
Solution
ELECTRICAL & COMPUTER ENGINEERING

## Slide 4
The LiDAR can record measurements within 2 meters in a 360-degree range
Able to detect objects approaching the user from front, back, below, and both sides within 2 seconds.
Navigational success: The hat must detect and produce stimuli to inform the wearer of a wall that is up to 5 feet away from them in all directions.
GRAINGER ENGINEERING
High Level Requirements
ELECTRICAL & COMPUTER ENGINEERING

## Slide 5
Design Overview
ELECTRICAL & COMPUTER ENGINEERING
GRAINGER ENGINEERING

## Slide 6
The block diagram submitted alongside our design document
GRAINGER ENGINEERING
Seeing-Eye Hat
ELECTRICAL & COMPUTER ENGINEERING

## Slide 7
CHART / GRAPH
GRAINGER ENGINEERING
Original Block Diagram
ELECTRICAL & COMPUTER ENGINEERING

## Slide 8
CHART / GRAPH
GRAINGER ENGINEERING
Final Block Diagram
ELECTRICAL & COMPUTER ENGINEERING

## Slide 9
Core Systems
Control Unit
Scanning Mechanism
Sensing System
GRAINGER ENGINEERING
ELECTRICAL & COMPUTER ENGINEERING

## Slide 10
Control Unit
STM32 was replaced with an Arduino Mega after programming problems
Motor position tracking is now done with a single hall effect sensor instead of an array
Scanning and Sensing
Brushless motor was replaced with a Stepper motor for better control and position tracking
Accelerometer was removed entirely after approval from Professor Fliflet
GRAINGER ENGINEERING
Major Changes
ELECTRICAL & COMPUTER ENGINEERING

## Slide 11
Excerpt from the verification tables for the Control and Sensing Units
GRAINGER ENGINEERING
LiDAR Verification
ELECTRICAL & COMPUTER ENGINEERING
Requirement | Verification | Results
The control unit must be able to read and process distance data from the LiDAR sensor within a 10% margin of error. The LiDAR sensor should be able to detect walls within 2 meters. | Stationary Measurement Tolerance Test: Using a meter stick, position the LiDAR at a known distance away form a wall or otherwise flat large surface. Use the serial terminal to read the measured distance. | Measuring wall distances: actual - 200 cm, lidar - 207 cm actual - 150 cm, lidar - 154 cm actual - 102 cm, lidar - 109 cm actual - 70 cm, lidar - 72 cm actual - 50 cm, lidar - 49 cm actual - 30 cm, lidar - 33 cm

## Slide 12
IMAGE / GRAPHIC
How to track the motor?
Lorem ipsum dolor sit amet, consectetur adipiscing elit, sed do eiusmod tempor incididunt ut labore et dolore magna aliqua. Ut enim ad minim veniam, quis nostrud exercitation ullamco laboris nisi ut aliquip ex ea commodo consequat.
Lorem Ipsum Dolor Sit Amet Consectetur Adipiscing
Lorem ipsum dolor sit amet, consectetur adipiscing elit, sed do eiusmod tempor incididunt ut labore et dolore magna aliqua.
GRAINGER ENGINEERING
Hall Effect Sensor
ELECTRICAL & COMPUTER ENGINEERING

## Slide 13
IMAGE / GRAPHIC
Stepper VS Brushless Motor
Lorem ipsum dolor sit amet, consectetur adipiscing elit, sed do eiusmod tempor incididunt ut labore et dolore magna aliqua. Ut enim ad minim veniam, quis nostrud exercitation ullamco laboris nisi ut aliquip ex ea commodo consequat.
Lorem Ipsum Dolor Sit Amet Consectetur Adipiscing
Lorem ipsum dolor sit amet, consectetur adipiscing elit, sed do eiusmod tempor incididunt ut labore et dolore magna aliqua.
GRAINGER ENGINEERING
Scanning Mechanism
ELECTRICAL & COMPUTER ENGINEERING

## Slide 14
IMAGE / GRAPHIC
Unable to Program the STM32
Lorem ipsum dolor sit amet, consectetur adipiscing elit, sed do eiusmod tempor incididunt ut labore et dolore magna aliqua. Ut enim ad minim veniam, quis nostrud exercitation ullamco laboris nisi ut aliquip ex ea commodo consequat.
Lorem Ipsum Dolor Sit Amet Consectetur Adipiscing
Lorem ipsum dolor sit amet, consectetur adipiscing elit, sed do eiusmod tempor incididunt ut labore et dolore magna aliqua.
GRAINGER ENGINEERING
Control Unit
ELECTRICAL & COMPUTER ENGINEERING

## Slide 15
Power System
A Lesson in Over-Engineering
GRAINGER ENGINEERING
ELECTRICAL & COMPUTER ENGINEERING

## Slide 16
GRAINGER ENGINEERING
ELECTRICAL & COMPUTER ENGINEERING

## Slide 17
GRAINGER ENGINEERING
ELECTRICAL & COMPUTER ENGINEERING

## Slide 18
GRAINGER ENGINEERING
ELECTRICAL & COMPUTER ENGINEERING

## Slide 19
GRAINGER ENGINEERING
ELECTRICAL & COMPUTER ENGINEERING

## Slide 20
IMAGE / GRAPHIC
IMAGE / GRAPHIC
Over-Engineering
The original design was needlessly overcomplicated
      Tunnel-vision on a design is going to be something to consider professionally
      A single buck converter for 7.4 V to 5 V and a linear regulator for 5 V to 3.3 V would have worked better
      Multiple linear regulators in parallel may also have been a better design
GRAINGER ENGINEERING
Re-designing the power system
ELECTRICAL & COMPUTER ENGINEERING

## Slide 21
Closing Thoughts
GRAINGER ENGINEERING
ELECTRICAL & COMPUTER ENGINEERING

## Slide 22
IMAGE / GRAPHIC
Things We Did Well On
Systems Engineering
Resourcefulness
Dynamically adapting the design
Dedication
Communication
Things to Improve
Early-Stage Project management
Overcomplicating
  Software VS Hardware Complications
PCB Design
Follow your guts
Sunk Cost Fallacy
GRAINGER ENGINEERING
Reflections
ELECTRICAL & COMPUTER ENGINEERING

## Slide 23
(Closing slide option two. Suggestions for last slide)
Summary
Thank You
Questions
Contact Information
Lorem ipsum dolor sit amet, consectetur adipiscing elit, sed do eiusmod tempor incididunt ut labore et dolore magna aliqua.
GRAINGER ENGINEERING
ELECTRICAL & COMPUTER ENGINEERING